Table S1: Values of parameters used for yeast SBF-SEM acquisitions

| Gun mode | Imaging |
| --- | --- |
| Accelerating voltage | 1,2 kV |
| Pixel dwell time | 5 µs |
| Pixel size | 5 nm |
| Focal Charge Compensation | 100 |
| Section numbers | 500-600 |
| Section thickness | 30 nm |
| Image size | 3000x3000 or 4000x4000 |
| Aperture | 20 µm |
| Probe current | 50 pA |

Table S2: Measurements of cells and their organelles volume

|  | Cell volume µm3 | Mitochondria volume µm3 | Nucleus volume µm3 | Vacuole volume µm3 |
| --- | --- | --- | --- | --- |
| Wild-type |  |  |  |  |
| Cell 1 | 25.64 | 1.15 | 2.18 | 1.31 |
| Cell 2 | 21.70 | 2.11 | 2.31 | 1.29 |
| Cell 3 | 30.74 | 0.87 | 2.86 | 1.84 |
| Cell 4 | 37.10 | 0.82 | 2.19 | 3.86 |
| Cell 5 | 35.48 | 1.7 | 2.99 | 1.69 |
| tim11 |  |  |  |  |
| Cell 1 | 47.39 | 5.25 | 4.31 | 2.78 |
| Cell 2 | 59.43 | 7.96 | 5.88 | 3.91 |
| Cell 3 | 42.49 | 6.2 | 3.54 | 1.7 |
| Cell 4 | 43.17 | 6.83 | 3.7 | 1.93 |
| Cell 5 | 47.49 | 9.09 | 3.31 | 4.4 |
| Student double-sided t-test | ** | *** | * | ns |
| P value | 0.00281 | 0.00004 | 0.01059 | 0.22222 |